## Bid Recap & Summary
JUICI PATTIES
BID RECAP
| DIVISION | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFIT | ADDITIONAL COST (If Any) | TOTAL PRICE | COST/ SF
FACILITY CONSTRUCTION SUBGROUP WORK
| 02 00 00 | EXISTING CONDITIONS | 9.0329 | 13140.6418 | 0.80213 | 657.0321 | 13807.5089 | 1380.7509 | 1380.7509 | 248.5352 | 16817.5459
| 06 00 00 | WOOD, PLASTICS, AND COMPOSITES MANUFACTURERS | 7581.5297 | 2992.6012 | 673.2398 | 149.6301 | 11397.0009 | 1139.7001 | 1139.7001 | 205.146 | 13881.5471
| 08 00 00 | OPENINGS | 1791.58 | 1490.4978 | 159.0923 | 74.5249 | 3515.695 | 351.5695 | 351.5695 | 63.2825 | 4282.1165
| 09 00 00 | FINISHES | 15151.2219 | 24056.5774 | 1345.4285 | 1202.8289 | 41756.0566 | 4175.6057 | 4175.6057 | 751.609 | 50858.8769
| 10 00 00 | SPECIALTIES | 2380.7378 | 1096.727 | 211.4095 | 54.8364 | 3743.7107 | 374.3711 | 374.3711 | 67.3868 | 4559.8396
| 11 00 00 | EQUIPMENTS | 188339.0783 | 15796.6657 | 16724.5102 | 789.8333 | 221650.0875 | 22165.0087 | 22165.0087 | 3989.7016 | 269969.8065
| 12 00 00 | FURNISHINGS | 10017.0915 | 4149.8787 | 889.5177 | 207.4939 | 15263.9818 | 1526.3982 | 1526.3982 | 274.7517 | 18591.5298
| 22 00 00 | PLUMBING | 31836.0657 | 37929.0929 | 2827.0426 | 1896.4546 | 74488.6558 | 7448.8656 | 7448.8656 | 1340.7958 | 90727.1828
| 23 00 00 | HEATING, VENTILATION & AIR CONDITIONING | 27677.5941 | 14866.6228 | 2457.7704 | 743.3311 | 45745.3184 | 4574.5318 | 4574.5318 | 823.4157 | 55717.7978
| 26 00 00 | ELECTRICAL | 48414.1262 | 47651.8755 | 4299.1744 | 2382.5938 | 102747.7698 | 10274.777 | 10274.777 | 1849.4599 | 125146.7837
| 27 00 00 | COMMUNICATIONS | 646.1413 | 1118.2979 | 57.3773 | 55.9149 | 1877.7315 | 187.7731 | 187.7731 | 33.7992 | 2287.0769
|  | TOTALS | 333844.1994 | 164289.4787 | 29645.3649 | 8214.4739 | 535993.5169 | 53599.3517 | 53599.3517 | 9647.8833 | 652840.1036
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 333844.1994 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  |  | 0
|  | MATERIAL SALES TAX | 8.88% | 29645.3649 |  | 2 | NUMBER OF MAN-DAYS |  |  |  | 0
|  | JOB EXPENSE |  |  |  | 3 | MAN LOAD |  |  |  | 5
| 2 | TOTAL LABOR COST |  | 164289.4787 |  | 4 | JOURNEYMAN RATE |  | 3
|  | LABOR TAX | 5% | 8214.4739 |  | 5 | SUPERVISOR RATE |  | 1
| 3 | TOTAL COST |  | 535993.5169 |  | 6 | UNSKILLED LABOR RATE |  | 1
|  | OVERHEADS @ | 10% | 53599.3517 |  | 7 | COMPOSITE LABOR RATE |  |  |  | 0
|  | PROFIT @ | 10% | 53599.3517 |  | 8 | WAGE RATE |  |  |  | 0
| 4 | TOTAL COST W/ OVERHEADS + PROFIT |  | 643192.2203
|  | BOND & INSURANCE | 1.5% | 9647.8833 |  |  | INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
|  | PROJECT SUPERVISION & PROJECT MANAGEMENT |  | 0
|  | SUBMITTALS, SAMPLES, SHOP DRAWINGS, SITE SAFETY PLAN, ETC. |  | 0
|  | TEMPORARY FACILITIES & CONTROLS |  | 0
|  | PROJECT SCHEDULE (Primavera P3 or P6) |  | 0
|  | OFFICE OVERHEADS |  | 0
|  | CLOSEOUT PROCEDURES |  | 0
|  | PERMITS |  | 0
|  | ALLOWANCES |  | 0
|  | MOBILIZATION / DEMOBILIZATION |  | 0
|  | SUB-CONTRACTS |  | 0
|  | BOND PREMIUM |  | 0
| 5 | BASE BID PRICE |  | 652840.1036

## Worksheet
|  |  |  | JUICI PATTIES | [7 empty] | PROJECT COST |  | 498133.6781
|  |  |  | 1385 Metropolitan Avenue, Bronx, NY 10462 | [7 empty] | OVERHEAD COST |  | 49813.3678
|  |  |  | Project Scope: | GC SCOPE | [6 empty] | PROFIT COST |  | 49813.3678
|  |  |  | Addendum: | N/A | [6 empty] | ADDITIONAL COST (If Any) |  | 55079.6899
|  |  |  | Date: | [7 empty] | TOTAL BID COST |  | 652840.1036
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | UNIT LABOR COST | LABOR COST | TOTAL COST
|  |  |  | FACILITY CONSTRUCTION SUBGROUP WORK | [6 empty] | 0
|  | DIVISION | 02 00 00 | EXISTING CONDITIONS
DEMOLITION
1 |  |  |  | Demolition of Existing ACT Ceiling & Lighting Fixtures | 535 | SF | 0% | 535 | 0 | 0 | 73.8013 | 0.054 | 3.9853 | 2132.1196 | 2132.1196
2 |  |  |  | Demolition of Existing Ceiling & Light Fixtures | 274 | SF | 0% | 274 | 0 | 0 | 73.8013 | 0.054 | 3.9853 | 1091.964 | 1091.964
3 |  |  |  | Demolition of Existing Drywall Soffit | 67 | SF | 0% | 67 | 0 | 0 | 73.8013 | 0.054 | 3.9853 | 267.0131 | 267.0131
4 |  |  |  | Demolition of Existing Light Fixtures | 38 | SF | 0% | 38 | 0 | 0 | 73.8013 | 0.385 | 28.4135 | 1079.713 | 1079.713
5 |  |  |  | Demolition of Existing Wall | 314 | SF | 0% | 314 | 0 | 0 | 73.8013 | 0.054 | 3.9853 | 1251.3748 | 1251.3748
6 |  |  |  | Demolition of Existing Wall Finishes | 1125.74 | SF | 0% | 1125.74 | 0 | 0 | 73.8013 | 0.046 | 3.3949 | 3821.7295 | 3821.7295
7 |  |  |  | Demolition of Existing Header | 2.41 | LF | 0% | 2.41 | 0 | 0 | 73.8013 | 0.115 | 8.4871 | 20.454 | 20.454
8 |  |  |  | Remove Existing Millwork | 69.82 | LF | 0% | 69.82 | 0 | 0 | 73.8013 | 0.16 | 11.8082 | 824.4491 | 824.4491
9 |  |  |  | Cap & Seal Any Neccessary Plumbing Lines not being reused | 3 | EA | 0% | 3 | 3.011 | 9.0329 | 112.9809 | 0.55 | 62.1395 | 186.4184 | 195.4513
10 |  |  |  | Demolition of Existing Window | 2 | EA | 0% | 2 | 0 | 0 | 73.8013 | 2.02 | 149.0786 | 298.1573 | 298.1573
11 |  |  |  | Demolition of Wall Shelving | 3 | EA | 0% | 3 | 0 | 0 | 73.8013 | 0.215 | 15.8673 | 47.6018 | 47.6018
12 |  |  |  | Removal of Existing Door, Frame & Hardware | 1 | EA | 0% | 1 | 0 | 0 | 73.8013 | 2.275 | 167.898 | 167.898 | 167.898
13 |  |  |  | Removal of Existing Kitchen Equipment | 13 | EA | 0% | 13 | 0 | 0 | 73.8013 | 1.425 | 105.1669 | 1367.1691 | 1367.1691
14 |  |  |  | Remove Existing Combo Exit Sign/Emergency Light | 1 | EA | 0% | 1 | 0 | 0 | 73.8013 | 0.421 | 31.0703 | 31.0703 | 31.0703
15 |  |  |  | Remove Existing Sink | 2 | EA | 0% | 2 | 0 | 0 | 73.8013 | 3.5 | 258.3046 | 516.6091 | 516.6091
16 |  |  |  | Salvage Existing Door & Hardware For Reuse | 1 | EA | 0% | 1 | 0 | 0 | 73.8013 | 0.5 | 36.9006 | 36.9006 | 36.9006
[7 empty] | SUBTOTAL MATERIAL |  | 9.0329 | SUBTOTAL LABOR |  | 13140.6418 |  |  |  | 13149.6747
|  | DIVISION | 06 00 00 | WOOD, PLASTICS, AND COMPOSITES MANUFACTURERS
BLOCKING
17 |  |  |  | 2" X 4" Blocking For TV | 16 | LF | 5% | 16.8 | 0.76541 | 12.8589 | 93.1719 | 0.026 | 2.4225 | 40.6975 | 53.5564
MILLWORK
18 |  |  |  | 2'-2" Deep Base Cabinetry | 13.17 | LF | 5% | 13.8285 | 313.292 | 4332.3584 | 93.1719 | 1.326 | 123.546 | 1708.4559 | 6040.8144
19 |  |  |  | 3'-0" Deep Base Cabinetry | 8.67 | LF | 5% | 9.1035 | 355.502 | 3236.3125 | 93.1719 | 1.466 | 136.5901 | 1243.4478 | 4479.7602
[7 empty] | SUBTOTAL MATERIAL |  | 7581.5297 | SUBTOTAL LABOR |  | 2992.6012 |  |  |  | 10574.131
|  | DIVISION | 08 00 00 | OPENINGS
DOORS
20 |  |  |  | 3'-0" X 7'-0" X 1" Hollow Metal Door With Frame | 1 | EA | 0% | 1 | 862.96 | 862.96 | 93.1719 | 7.244 | 674.9376 | 674.9376 | 1537.8976
DOOR HARDWARES
21 |  |  |  | Door Hardware Set Eliason P11 Easy Swing Hinge System Closer Vision Lite Ss Push Plate Double Action Door | 1 | EA | 0% | 1 | 393.96 | 393.96 | 93.1719 | 2.421 | 225.5693 | 225.5693 | 619.5293
WINDOWS
22 |  |  |  | 2'-0" X 4'-0" Aluminium Framed Tempered Glass Fixed Window | 2 | EA | 0% | 2 | 267.33 | 534.66 | 101.0605 | 2.919 | 294.9955 | 589.9909 | 1124.6509
[7 empty] | SUBTOTAL MATERIAL |  | 1791.58 | SUBTOTAL LABOR |  | 1490.4978 |  |  |  | 3282.0778
|  | DIVISION | 09 00 00 | FINISHES
DRYWALL
23 |  |  |  | Drywall: 4 | 14.12 | LF
24 |  |  |  | 5/8" Gypsum Board | 66.6 | SF | 10% | 73.26 | 0.9849 | 72.1538 | 93.1719 | 0.037 | 3.4474 | 252.5538 | 324.7075
25 |  |  |  | 4x8 No of Sheets | 3 | EA | 0% | 3
26 |  |  |  | Drywall Screws | 89 | EA | 0% | 89
27 |  |  |  | Tape Joints | 48 | LF | 5% | 50.4
28 |  |  |  | Mudding | 5.5944 | Lbs | 5% | 5.8741
29 |  |  |  | 5/8" Purple Gypsum Board | 81.4 | SF | 10% | 89.54 | 1.0412 | 93.2273 | 93.1719 | 0.037 | 3.4474 | 308.6768 | 401.9041
30 |  |  |  | 4x8 No of Sheets | 3 | EA | 0% | 3
31 |  |  |  | Drywall Screws | 109 | EA | 0% | 109
32 |  |  |  | Tape Joints | 48 | LF | 5% | 50.4
33 |  |  |  | Mudding | 6.8376 | Lbs | 5% | 7.1795
34 |  |  |  | 3-5/8" 25 GA. Metal Stud @ 16" O.C. | 111.2782 | LF | 5% | 116.8421 | 1.3032 | 152.2644 | 93.1719 | 0.026312 | 2.4516 | 286.4486 | 438.7129
35 |  |  |  | 3-5/8" Top Plate & Bottom Plate | 28.24 | LF | 5% | 29.652 | 2.4188 | 71.7208 | 93.1719 | 0.03368 | 3.138 | 93.0489 | 164.7697
36 |  |  |  | 3-5/8" Mid Span Blocking | 14.12 | LF | 5% | 14.826 | 2.4188 | 35.8604 | 93.1719 | 0.03368 | 3.138 | 46.5245 | 82.3848
37 |  |  |  | Sealant | 56.48 | LF | 5% | 59.304 | 0.6097 | 36.1576 | 93.1719 | 0.032 | 2.9815 | 176.815 | 212.9727
38 |  |  |  | Drywall: 5 | 15.72 | LF
39 |  |  |  | 5/8" Gypsum Board | 20.25 | SF | 10% | 22.275 | 0.9849 | 21.9386 | 1.8406 | 1.05 | 1.9327 | 43.0505 | 64.9892
40 |  |  |  | 4x8 No of Sheets | 1 | EA | 0% | 1
41 |  |  |  | Drywall Screws | 27 | EA | 0% | 27
42 |  |  |  | Tape Joints | 16 | LF | 5% | 16.8
43 |  |  |  | Mudding | 1.701 | Lbs | 5% | 1.786
44 |  |  |  | 5/8" Purple Gypsum Board | 24.75 | SF | 10% | 27.225 | 1.0412 | 28.3461 | 93.1719 | 0.037 | 3.4474 | 93.8544 | 122.2006
45 |  |  |  | 4x8 No of Sheets | 1 | EA | 0% | 1
46 |  |  |  | Drywall Screws | 33 | EA | 0% | 33
47 |  |  |  | Tape Joints | 16 | LF | 5% | 16.8
48 |  |  |  | Mudding | 2.079 | Lbs | 5% | 2.1829
49 |  |  |  | 3-5/8" 25 GA. Metal Stud @ 16" O.C. | 33.8346 | LF | 5% | 35.5263 | 1.3032 | 46.2966 | 93.1719 | 0.026312 | 2.4516 | 87.0959 | 133.3924
50 |  |  |  | 3-5/8" Top Plate & Bottom Plate | 31.44 | LF | 5% | 33.012 | 2.4188 | 79.8478 | 93.1719 | 0.03368 | 3.138 | 103.5927 | 183.4405
51 |  |  |  | 3-5/8" Mid Span Blocking | 15.72 | LF | 5% | 16.506 | 2.4188 | 39.9239 | 93.1719 | 0.03368 | 3.138 | 51.7963 | 91.7202
52 |  |  |  | Sealant | 62.88 | LF | 5% | 66.024 | 0.6097 | 40.2548 | 93.1719 | 0.032 | 2.9815 | 196.8507 | 237.1055
53 |  |  |  | Drywall: 6 | 8.67 | LF
54 |  |  |  | 5/8" Gypsum Board | 40.95 | SF | 10% | 45.045 | 0.9849 | 44.3648 | 93.1719 | 0.037 | 3.4474 | 155.2864 | 199.6512
55 |  |  |  | 4x8 No of Sheets | 2 | EA | 0% | 2
56 |  |  |  | Drywall Screws | 55 | EA | 0% | 55
57 |  |  |  | Tape Joints | 32 | LF | 5% | 33.6
58 |  |  |  | Mudding | 3.4398 | Lbs | 5% | 3.6118
59 |  |  |  | 5/8" Purple Gypsum Board | 50.05 | SF | 10% | 55.055 | 1.0412 | 57.3222 | 93.1719 | 0.037 | 3.4474 | 189.7945 | 247.1167
60 |  |  |  | 4x8 No of Sheets | 2 | EA | 0% | 2
61 |  |  |  | Drywall Screws | 67 | EA | 0% | 67
62 |  |  |  | Tape Joints | 32 | LF | 5% | 33.6
63 |  |  |  | Mudding | 4.2042 | Lbs | 5% | 4.4144
64 |  |  |  | 3-5/8" 25 GA. Metal Stud @ 16" O.C. | 68.4211 | LF | 5% | 71.8421 | 1.3032 | 93.622 | 93.1719 | 0.026312 | 2.4516 | 176.1272 | 269.7492
65 |  |  |  | 3-5/8" Top Plate & Bottom Plate | 17.34 | LF | 5% | 18.207 | 2.4188 | 44.0382 | 93.1719 | 0.03368 | 3.138 | 57.1341 | 101.1723
66 |  |  |  | 3-5/8" Mid Span Blocking | 8.67 | LF | 5% | 9.1035 | 2.4188 | 22.0191 | 93.1719 | 0.03368 | 3.138 | 28.5671 | 50.5862
67 |  |  |  | Sealant | 34.68 | LF | 5% | 36.414 | 0.6097 | 22.2016 | 93.1719 | 0.032 | 2.9815 | 108.5684 | 130.77
68 |  |  |  | Drywall: 7 | 14.64 | LF
69 |  |  |  | 5/8" Gypsum Board | 132 | SF | 10% | 145.2 | 0.9849 | 143.0075 | 93.1719 | 0.037 | 3.4474 | 500.557 | 643.5645
70 |  |  |  | 4x8 No of Sheets | 5 | EA | 0% | 5
71 |  |  |  | Drywall Screws | 176 | EA | 0% | 176
72 |  |  |  | Tape Joints | 80 | LF | 5% | 84
73 |  |  |  | Mudding | 11.088 | Lbs | 5% | 11.6424
74 |  |  |  | 5/8" Purple Gypsum Board | 22 | SF | 10% | 24.2 | 1.0412 | 25.1966 | 93.1719 | 0.037 | 3.4474 | 83.4262 | 108.6227
75 |  |  |  | 4x8 No of Sheets | 1 | EA | 0% | 1
76 |  |  |  | Drywall Screws | 30 | EA | 0% | 30
77 |  |  |  | Tape Joints | 16 | LF | 5% | 16.8
78 |  |  |  | Mudding | 1.848 | Lbs | 5% | 1.9404
79 |  |  |  | Sealant | 29.28 | LF | 5% | 30.744 | 0.6097 | 18.7446 | 93.1719 | 0.032 | 2.9815 | 91.6633 | 110.4079
WALL BASE & TRIMS
80 |  |  |  | Tag: B-02, Quarry Tile Base, Tile Bar, Marbella, Perla, Matte, 3" X 24" | 209.12 | LF | 5% | 219.576 | 6.0138 | 1320.4757 | 77.3949 | 0.145 | 11.2223 | 2464.1407 | 3784.6164
81 |  |  |  | Tag: SCH-01, Schluter System, Quadec, Stainless Steel, Brushed | 41.58 | LF | 5% | 43.659 | 10.9408 | 477.6663 | 86.7735 | 0.021 | 1.8222 | 79.5573 | 557.2237
82 |  |  |  | Door Trims | 34 | LF | 5% | 35.7 | 2.7671 | 98.7855 | 93.1719 | 0.031985 | 2.9801 | 106.3896 | 205.175
CEILING
83 |  |  |  | Tag: ACT-1 DIM: 24" x 24'" MANUFACTURER: AMSTRONG TYPE: ULTIMA SQUARE REGULAR ITEM NUMBER: 1912 COLOR: WHITE W/ PRELUDE SUSPENSION SYSTEM 15/16" EXPOSED TEE SYSTEM | 128 | SF | 10% | 140.8 | 5.4404 | 766.0083 | 93.1719 | 0.042 | 3.9132 | 550.9816 | 1316.99
84 |  |  |  | Tag: ACT-2 DIM: 24" x 48" MANUFACTURER: AMSTRONG TYPE: CLEAN ROOM VL ITEM NUMBER: 870 COLOR: WHITE W/ PRELUDE SUSPENSION SYSTEM 15/16" EXPOSED TEE SYSTEM | 385 | SF | 10% | 423.5 | 6.3315 | 2681.3902 | 93.1719 | 0.042 | 3.9132 | 1657.2495 | 4338.6397
85 |  |  |  | Tag: SC-1 2x4 LAMINATED MDF-UL MANUFACTURER: FC DADSON COLOR SELECTION BY CUSTOMER NOTE: LAMINATE SIDES AND BOTTOM, PAINT TOP AND ENDS | 51 | SF | 10% | 56.1 | 3.9771 | 223.1164 | 93.1719 | 0.048 | 4.4723 | 250.8934 | 474.0099
86 |  |  |  | Tag: CSI-1, Yellow Decorative Ceiling Strips, 1" X 3" WPP | 4 | SF | 10% | 4.4 | 5.4873 | 24.1441 | 93.1719 | 0.052 | 4.8449 | 21.3177 | 45.4619
87 |  |  |  | 5/8" Gypsum Board Ceiling & Soffit | 165 | SF | 10% | 181.5 | 1.9041 | 345.6014 | 93.1719 | 0.065 | 6.0562 | 1099.1961 | 1444.7975
88 |  |  |  | 4x8 No of Sheets | 6 | EA | 0% | 6
89 |  |  |  | Drywall Screws | 220 | EA | 0% | 220
90 |  |  |  | Tape Joints | 96 | LF | 5% | 100.8
91 |  |  |  | Mudding | 13.86 | Lbs | 5% | 14.553
CEILING FINISH
92 |  |  |  | Paint on Exposed Structure, PNT-05, Sherwin Williams, Dryfall, Black | 330 | SF | 10% | 363 | 0.44086 | 160.0322 | 77.8332 | 0.036 | 2.802 | 1017.1243 | 1177.1564
93 |  |  |  | Paint on Gypsum Board Ceiling, PNT-02, Sherwin Williams, Sealskin, SW7675, Flat | 165 | SF | 10% | 181.5 | 0.34706 | 62.9914 | 77.8332 | 0.03 | 2.335 | 423.8018 | 486.7932
WALL FINISH
94 |  |  |  | Tag: FRP-01, FRP Panels, Crane Composites, Glasbord, White 85, Embossed | 891 | SF | 10% | 980.1 | 3.8458 | 3769.2686 | 93.1719 | 0.038 | 3.5405 | 3470.0775 | 7239.3461
95 |  |  |  | Tag: PNT-01, Sherwin Williams, Accessible Beige, SW7036, Satin | 782 | SF | 10% | 860.2 | 0.34706 | 298.541 | 77.8332 | 0.024 | 1.868 | 1606.8508 | 1905.3919
96 |  |  |  | Tag: WT-01, Wall Tile, Tile Bar, Ceramic Subway Wall Tile, Basic White, Polished, 3" X 6" | 422 | SF | 10% | 464.2 | 6.3315 | 2939.0823 | 86.7735 | 0.143 | 12.4086 | 5760.077 | 8699.1593
97 |  |  |  | Tag: WT-02, Wall Tile, Tile Bar, Montana Porcelain, Cherry, 8" X 45" | 140 | SF | 10% | 154 | 4.9151 | 756.9285 | 86.7735 | 0.143 | 12.4086 | 1910.926 | 2667.8545
MISC. FINISH
98 |  |  |  | Paint on Door Trim | 34 | LF | 5% | 35.7 | 0.22512 | 8.0368 | 77.8332 | 0.019 | 1.4788 | 52.7943 | 60.831
99 |  |  |  | Paint on Existing Single Leaf Door, Semi Gloss Finish | 1 | EA | 0% | 1 | 16.7152 | 16.7152 | 77.8332 | 3.18 | 247.5096 | 247.5096 | 264.2247
100 |  |  |  | Paint on Single Leaf Door | 1 | EA | 0% | 1 | 13.9293 | 13.9293 | 77.8332 | 2.65 | 206.258 | 206.258 | 220.1873
[7 empty] | SUBTOTAL MATERIAL |  | 15151.2219 | SUBTOTAL LABOR |  | 24056.5774 |  |  |  | 39207.7992
|  | DIVISION | 10 00 00 | SPECIALTIES
SPECIALTIES
101 |  |  |  | CG-01, Corner Guard, Inpro Corporation, Stainless Steel | 4 | EA | 0% | 4 | 66.0727 | 264.2909 | 93.1719 | 0.4 | 37.2688 | 149.0751 | 413.366
102 |  |  |  | CG-02, End Cap, Inpro Corporation, Stainless Steel | 10 | EA | 0% | 10 | 11.725 | 117.25 | 93.1719 | 0.165 | 15.3734 | 153.7337 | 270.9837
103 |  |  |  | Wall Signage, DIM: " Juice Fresh ", 36" H X 60" L | 1 | EA | 0% | 1 | 492.45 | 492.45 | 93.1719 | 2.421 | 225.5693 | 225.5693 | 718.0193
104 |  |  |  | Wall Signage, DIM: " Juici Patties Circle Logo " | 1 | EA | 0% | 1 | 342.37 | 342.37 | 93.1719 | 1 | 93.1719 | 93.1719 | 435.5419
105 |  |  |  | Wall Signage, DIM: " Mural Artwork & QR Code " | 1 | EA | 0% | 1 | 326.424 | 326.424 | 93.1719 | 1 | 93.1719 | 93.1719 | 419.596
106 |  |  |  | Wall Signage, DIM: " Serious Jamaican Food ", 36" H X 60" L | 1 | EA | 0% | 1 | 492.45 | 492.45 | 93.1719 | 2.421 | 225.5693 | 225.5693 | 718.0193
BATH ACCESSORIES
107 |  |  |  | Soap Dispenser, Manufacturer: Bobrick, Model No: B-2111 | 2 | EA | 0% | 2 | 39.8087 | 79.6174 | 93.1719 | 0.405 | 37.7346 | 75.4693 | 155.0867
108 |  |  |  | Toilet Tissue Dispenser, Manufacturer: Bobrick, Model No: B-4288 | 1 | EA | 0% | 1 | 159.0848 | 159.0848 | 93.1719 | 0.333 | 31.0263 | 31.0263 | 190.1111
109 |  |  |  | Paper Towel Dispenser, Manufacturer: Bobrick, Model No: B-262 | 2 | EA | 0% | 2 | 53.4003 | 106.8007 | 93.1719 | 0.268 | 24.9701 | 49.9402 | 156.7408
[7 empty] | SUBTOTAL MATERIAL |  | 2380.7378 | SUBTOTAL LABOR |  | 1096.727 |  |  |  | 3477.4648
|  | DIVISION | 11 00 00 | EQUIPMENTS
EQUIPMENTS
110 |  |  |  | Point-Of-Sale Systems, Model No: Toast Pos | 2 | EA | 0% | 2 | 1106.84 | 2213.68 | 107.4589 | 5 | 537.2945 | 1074.589 | 3288.269
111 |  |  |  | Work Table, Cabinet Base Open Front, Manufacturer: Bk Resources, Model No: Cst-2460 | 1 | EA | 0% | 1 | 1092.77 | 1092.77 | 93.1719 | 1.12 | 104.3526 | 104.3526 | 1197.1226
112 |  |  |  | Disposable Cup Dispenser, Manufacturer: Diversified Metal Products, Inc., Model No: Slr-S-3Bt | 2 | EA | 0% | 2 | 415.534 | 831.068 | 93.1719 | 1.85 | 172.3681 | 344.7362 | 1175.8042
113 |  |  |  | Trash Receptacle, Indoor, Manufacturer: Winco, Model No: Ptc-23K | 4 | EA | 0% | 4 | 36.6946 | 146.7782 | 73.8013 | 0.215 | 15.8673 | 63.4691 | 210.2474
114 |  |  |  | Sandwich Prep Refrigerator, Manufacturer: Beverage-Air, Model No: Spe27Hc-12M | 1 | EA | 0% | 1 | 3010.98 | 3010.98 | 73.8013 | 2.455 | 181.1822 | 181.1822 | 3192.1622
115 |  |  |  | Reach-In Refrigerator, Manufacturer: Asber, Model No: Arr-23-Ig-H | 1 | EA | 0% | 1 | 2270.898 | 2270.898 | 73.8013 | 3.905 | 288.1941 | 288.1941 | 2559.0921
116 |  |  |  | Work Table, W/ Hand Sink, Manufacturer: Klingers, Model No: Stb3048Br | 1 | EA | 0% | 1 | 942.69 | 942.69 | 93.1719 | 2 | 186.3439 | 186.3439 | 1129.0339
117 |  |  |  | Work Table, W/ Prep Sink, Manufacturer: Bk Resources, Model No: Stb3060Br | 1 | EA | 0% | 1 | 1046.808 | 1046.808 | 101.674 | 2.998 | 304.8187 | 304.8187 | 1351.6267
118 |  |  |  | Deck Mount Faucet, Manufacturer: Bk Resources, Model No: Bkd-5G-G | 2 | EA | 0% | 2 | 66.4854 | 132.9709 | 101.674 | 0.565 | 57.4458 | 114.8916 | 247.8625
119 |  |  |  | Mobile Heated Cabinet, Manufacturer: Henny Penny, Model No: Hhc 900 | 1 | EA | 0% | 1 | 7532.14 | 7532.14 | 101.674 | 5.421 | 551.1748 | 551.1748 | 8083.3148
120 |  |  |  | Pass Thru Window, Manufacturer: Custom, Model No: Custom | 1 | EA | 0% | 1 | 1735.3 | 1735.3 | 101.0605 | 6.875 | 694.7906 | 694.7906 | 2430.0906
121 |  |  |  | Heat Lamp, Manufacturer: Hatco, Model No: Uga-30 | 1 | EA | 0% | 1 | 533.4406 | 533.4406 | 101.674 | 2.12 | 215.5489 | 215.5489 | 748.9895
122 |  |  |  | Stainless Steel Table, Manufacturer: Bk Resources, Model No: Cvtob-6030 | 1 | EA | 0% | 1 | 637.84 | 637.84 | 93.1719 | 1.12 | 104.3526 | 104.3526 | 742.1926
123 |  |  |  | Shelving, Wall Mounted, Manufacturer: Channel Manufacturing, Inc., Model No: Tws1236 | 1 | EA | 0% | 1 | 105.2436 | 105.2436 | 93.1719 | 0.462 | 43.0454 | 43.0454 | 148.289
124 |  |  |  | Stainless Steel Table, Manufacturer: Bk Resources, Model No: Cvt-4830 | 1 | EA | 0% | 1 | 491.9622 | 491.9622 | 93.1719 | 0.8 | 74.5376 | 74.5376 | 566.4998
125 |  |  |  | 3 Door Reachin Freezer, Manufacturer: True, Model No: T-72F-Hc | 2 | EA | 0% | 2 | 8111.824 | 16223.648 | 73.8013 | 6.785 | 500.7418 | 1001.4836 | 17225.1316
126 |  |  |  | 2 Door Reachin Freezer, Manufacturer: Migali, Model No: C-2F-Hc | 1 | EA | 0% | 1 | 3561.586 | 3561.586 | 73.8013 | 4.421 | 326.2755 | 326.2755 | 3887.8615
127 |  |  |  | Combi Oven Pro - Half Size, Manufacturer: Rational, Model No: Cb2Erra.0000249, Double Stack W/ Stand | 4 | EA | 0% | 4 | 22163.064 | 88652.256 | 101.674 | 8 | 813.392 | 3253.568 | 91905.824
128 |  |  |  | Ventless Hood, Manufacturer: Rational, Model No: 60.76.179, Ultra Vent | 2 | EA | 0% | 2 | 4708.76 | 9417.52 | 101.674 | 4.12 | 418.8969 | 837.7938 | 10255.3138
129 |  |  |  | Overshelf, Manufacturer: Bk Resources, Model No: Bk-Osd-1260 | 1 | EA | 0% | 1 | 234.4906 | 234.4906 | 93.1719 | 1.14 | 106.216 | 106.216 | 340.7066
130 |  |  |  | Reach-In Glass Door Freezer, Manufacturer: Migali, Model No: C-2Fg-Hc | 1 | EA | 0% | 1 | 3888.948 | 3888.948 | 73.8013 | 4.58 | 338.01 | 338.01 | 4226.958
131 |  |  |  | Reach-In Refrigerator, Manufacturer: Migali, Model No: C-2Rb-Hc | 2 | EA | 0% | 2 | 3171.378 | 6342.756 | 73.8013 | 5.12 | 377.8627 | 755.7253 | 7098.4813
132 |  |  |  | Wall Mounted Hand Sink, Manufacturer: Advance Tabco, Model No: 7-Ps-23-Ec-Sp-1X | 2 | EA | 0% | 2 | 591.878 | 1183.756 | 101.674 | 4.276 | 434.758 | 869.516 | 2053.272
133 |  |  |  | Shelving, Wall Mounted, Manufacturer: Channel Manufacturing, Inc., Model No: Tws1260 | 1 | EA | 0% | 1 | 133.196 | 133.196 | 93.1719 | 0.625 | 58.2325 | 58.2325 | 191.4285
134 |  |  |  | Shelving, Wall Mounted, Manufacturer: Channel Manufacturing, Inc., Model No: Tws1836 | 2 | EA | 0% | 2 | 118.0567 | 236.1134 | 93.1719 | 0.625 | 58.2325 | 116.4649 | 352.5783
135 |  |  |  | Mop Broom Holder, Manufacturer: John Boos, Model No: Pb-Mh-3 | 1 | EA | 0% | 1 | 64.9659 | 64.9659 | 93.1719 | 0.333 | 31.0263 | 31.0263 | 95.9921
136 |  |  |  | Storage Shelving, Manufacturer: Quantum Storage Systems, Model No: Wr74-2066Gy, 20" X 66" With 74" Posts | 2 | EA | 0% | 2 | 510.272 | 1020.544 | 93.1719 | 1.625 | 151.4044 | 302.8088 | 1323.3528
137 |  |  |  | Storage Shelving, Manufacturer: Quantum Storage Systems, Model No: Wr74-2448Gy, 24" X 48" With 74" Posts | 1 | EA | 0% | 1 | 350.812 | 350.812 | 93.1719 | 1.625 | 151.4044 | 151.4044 | 502.2164
138 |  |  |  | Storage Shelving, Manufacturer: Quantum Storage Systems, Model No: Wr74-2454Gy, 24" X 54" With 74" Posts | 1 | EA | 0% | 1 | 510.272 | 510.272 | 93.1719 | 1.625 | 151.4044 | 151.4044 | 661.6764
139 |  |  |  | Soda Beverage Dispenser, Free Standing, Manufacturer: Follet, Model No: Vu300 Series | 1 | EA | 0% | 1 | 20018.796 | 20018.796 | 101.674 | 6.421 | 652.8488 | 652.8488 | 20671.6448
140 |  |  |  | Simplicity Bubbler Mini Quad, Manufacturer: Crathco, Model No: Cd4E-16 | 1 | EA | 0% | 1 | 2356.256 | 2356.256 | 101.674 | 2 | 203.348 | 203.348 | 2559.604
141 |  |  |  | Ice Maker, Cube-Style, Manufacturer: Hoshizaki, Model No: Kmd-410M J | 1 | EA | 0% | 1 | 3686.34 | 3686.34 | 101.674 | 2.558 | 260.0821 | 260.0821 | 3946.4221
142 |  |  |  | Water Filtration System, For Ice Machines, Manufacturer: Hoshizaki, Model No: Hdi-11 | 1 | EA | 0% | 1 | 161.336 | 161.336 | 112.9809 | 2.421 | 273.5266 | 273.5266 | 434.8626
143 |  |  |  | Work Table, Cabinet Base Hinged Doors (Custom), Manufacturer: Bk Resources, Model No: Cst-3648Hl | 1 | EA | 0% | 1 | 1642.438 | 1642.438 | 93.1719 | 1.885 | 175.6291 | 175.6291 | 1818.0671
144 |  |  |  | Work Table, Cabinet Base Hinged Doors (Custom), Manufacturer: Bk Resources, Model No: Cst-3660Hl | 1 | EA | 0% | 1 | 1642.438 | 1642.438 | 93.1719 | 1.885 | 175.6291 | 175.6291 | 1818.0671
145 |  |  |  | Condiment Caddy, Manufacturer: Diversified Metal Products, Inc., Model No: Nslc-1Bt | 1 | EA | 0% | 1 | 296.408 | 296.408 | 93.1719 | 0.8 | 74.5376 | 74.5376 | 370.9456
146 |  |  |  | Condiment Caddy, Manufacturer: Diversified Metal Products, Inc., Model No: Wls-1 | 1 | EA | 0% | 1 | 206.6789 | 206.6789 | 93.1719 | 0.8 | 74.5376 | 74.5376 | 281.2165
147 |  |  |  | Flatware Holder, Cylinder Holder / Dispenser, Manufacturer: Diversified Metal Products, Inc., Model No: Ctsh-6Bt | 1 | EA | 0% | 1 | 199.794 | 199.794 | 93.1719 | 0.8 | 74.5376 | 74.5376 | 274.3316
148 |  |  |  | 45" Tv Menu Board W/ Mounting Brackets | 3 | EA | 0% | 3 | 637.84 | 1913.52 | 107.4589 | 2.12 | 227.8129 | 683.4386 | 2596.9586
149 |  |  |  | Microwave, Manufacturer: Solwave Ameri Series, Model No: 180Was 18T | 1 | EA | 0% | 1 | 694.12 | 694.12 | 101.674 | 2 | 203.348 | 203.348 | 897.468
150 |  |  |  | Microwave Stand, Manufacturer: Refgency, Model No: 600Ms2424 | 1 | EA | 0% | 1 | 65.66 | 65.66 | 93.1719 | 0.5 | 46.586 | 46.586 | 112.246
151 |  |  |  | Warmer Oven, Manufacturer: Manstreet, Model No: Chp-1836 U | 1 | EA | 0% | 1 | 909.86 | 909.86 | 101.674 | 2.485 | 252.6599 | 252.6599 | 1162.5199
[7 empty] | SUBTOTAL MATERIAL |  | 188339.0783 | SUBTOTAL LABOR |  | 15796.6657 |  |  |  | 204135.744
|  | DIVISION | 12 00 00 | FURNISHINGS
COUNTERTOP
152 |  |  |  | Soild Surface Countertop, Silestone, Quartz, Biaco Maple | 70 | SF | 10% | 77 | 41.272 | 3177.944 | 93.1719 | 0.287 | 26.7403 | 2059.0069 | 5236.9509
FURNITURE
153 |  |  |  | High Chair, Manufacturer: Narsi, Model No: Faro 40346 | 5 | EA | 0% | 5 | 239.19 | 1195.95 | 93.1719 | 1.21 | 112.7381 | 563.6903 | 1759.6403
154 |  |  |  | Counter, Manufacturer: Custom, 7’-11" X 1’-6" & 6'-4" X 1’-6" | 1 | EA | 0% | 1 | 3982.9375 | 3982.9375 | 93.1719 | 10.55 | 982.9641 | 982.9641 | 4965.9015
155 |  |  |  | Office Desk | 1 | EA | 0% | 1 | 1266.3 | 1266.3 | 93.1719 | 4.543 | 423.2802 | 423.2802 | 1689.5802
156 |  |  |  | Office Chair | 1 | EA | 0% | 1 | 393.96 | 393.96 | 93.1719 | 1.298 | 120.9372 | 120.9372 | 514.8972
[7 empty] | SUBTOTAL MATERIAL |  | 10017.0915 | SUBTOTAL LABOR |  | 4149.8787 |  |  |  | 14166.9701
|  | DIVISION | 22 00 00 | PLUMBING
Plumbing Pipings
157 |  |  |  | 2" Dia Grease Sanitary Waste Pipe Via Underground | 35 | LF | 5% | 36.75 | 5.8625 | 215.4469 | 101.674 | 0.271 | 27.5537 | 1012.5968 | 1228.0437
158 |  |  |  | 3" Dia Grease Sanitary Waste Pipe Via Underground | 90 | LF | 5% | 94.5 | 10.1304 | 957.3228 | 101.674 | 0.302 | 30.7055 | 2901.6743 | 3858.9971
159 |  |  |  | 4" Dia Grease Sanitary Waste Pipe Via Underground | 60 | LF | 5% | 63 | 13.3665 | 842.0895 | 101.674 | 0.333 | 33.8574 | 2133.0188 | 2975.1083
160 |  |  |  | 2" Dia Grease Sanitary Waste Riser Pipe | 10 | LF | 5% | 10.5 | 5.8625 | 61.5562 | 101.674 | 0.271 | 27.5537 | 289.3134 | 350.8696
161 |  |  |  | 3" Dia Grease Sanitary Waste Riser Pipe | 15 | LF | 5% | 15.75 | 10.1304 | 159.5538 | 101.674 | 0.302 | 30.7055 | 483.6124 | 643.1662
162 |  |  |  | 2" Dia Vent Pipe | 70 | LF | 5% | 73.5 | 5.8625 | 430.8938 | 101.674 | 0.271 | 27.5537 | 2025.1936 | 2456.0873
163 |  |  |  | 2" Dia Vent Riser Pipe | 105 | LF | 5% | 110.25 | 5.8625 | 646.3406 | 101.674 | 0.271 | 27.5537 | 3037.7904 | 3684.131
164 |  |  |  | 3" Dia Vent Pipe | 40 | LF | 5% | 42 | 10.1304 | 425.4768 | 101.674 | 0.302 | 30.7055 | 1289.633 | 1715.1098
165 |  |  |  | 1/2" Dia Cold Water Pipe | 55 | LF | 5% | 57.75 | 3.677 | 212.3444 | 112.9809 | 0.148 | 16.7212 | 965.6473 | 1177.9918
166 |  |  |  | 3/4" Dia Cold Water Pipe | 20 | LF | 5% | 21 | 5.159 | 108.339 | 112.9809 | 0.157 | 17.738 | 372.4979 | 480.8369
167 |  |  |  | 1" Dia Cold Water Pipe | 90 | LF | 5% | 94.5 | 7.0819 | 669.2396 | 112.9809 | 0.176 | 19.8846 | 1879.0975 | 2548.337
168 |  |  |  | 1/2" Dia Cold Water Riser Pipe | 50 | LF | 5% | 52.5 | 3.677 | 193.0404 | 112.9809 | 0.148 | 16.7212 | 877.8612 | 1070.9016
169 |  |  |  | 3/4" Dia Cold Water Riser Pipe | 20 | LF | 5% | 21 | 5.159 | 108.339 | 112.9809 | 0.157 | 17.738 | 372.4979 | 480.8369
170 |  |  |  | 1" Dia Cold Water Riser Pipe | 15 | LF | 5% | 15.75 | 7.0819 | 111.5399 | 112.9809 | 0.176 | 19.8846 | 313.1829 | 424.7228
171 |  |  |  | 1/2" Dia Hot Water Pipe | 70 | LF | 5% | 73.5 | 3.677 | 270.2566 | 112.9809 | 0.148 | 16.7212 | 1229.0057 | 1499.2622
172 |  |  |  | 3/4" Dia Hot Water Pipe | 5 | LF | 5% | 5.25 | 5.159 | 27.0847 | 112.9809 | 0.157 | 17.738 | 93.1245 | 120.2092
173 |  |  |  | 1" Dia Hot Water Pipe | 30 | LF | 5% | 31.5 | 7.0819 | 223.0798 | 112.9809 | 0.176 | 19.8846 | 626.3658 | 849.4457
174 |  |  |  | 1/2" Dia Hot Water Riser Pipe | 40 | LF | 5% | 42 | 3.677 | 154.4323 | 112.9809 | 0.148 | 16.7212 | 702.289 | 856.7213
175 |  |  |  | 1/2" Dia Hot Water Return Pipe | 35 | LF | 5% | 36.75 | 3.677 | 135.1283 | 112.9809 | 0.148 | 16.7212 | 614.5028 | 749.6311
176 |  |  |  | 3/4" Dia Hot Water Return Pipe | 30 | LF | 5% | 31.5 | 5.159 | 162.5085 | 112.9809 | 0.157 | 17.738 | 558.7468 | 721.2553
Plumbing Fittings
177 |  |  |  | 2" Dia Elbow Joint, 45* | 6 | EA | 0% | 6 | 2.2137 | 13.2821 | 112.9809 | 0.2 | 22.5962 | 135.577 | 148.8591
178 |  |  |  | 2" Dia Elbow Joint | 20 | EA | 0% | 20 | 1.8854 | 37.7076 | 112.9809 | 0.2 | 22.5962 | 451.9234 | 489.631
179 |  |  |  | 2" Dia Tee Joint | 5 | EA | 0% | 5 | 2.3262 | 11.6312 | 112.9809 | 0.35 | 39.5433 | 197.7165 | 209.3477
180 |  |  |  | 2" X 2" X 3" Tee Joint | 1 | EA | 0% | 1 | 7.6541 | 7.6541 | 112.9809 | 0.35 | 39.5433 | 39.5433 | 47.1974
181 |  |  |  | 3" Dia Elbow Joint, 45* | 14 | EA | 0% | 14 | 8.9391 | 125.148 | 112.9809 | 0.3 | 33.8943 | 474.5196 | 599.6675
182 |  |  |  | 3" Dia Elbow Joint | 7 | EA | 0% | 7 | 6.8784 | 48.1485 | 112.9809 | 0.3 | 33.8943 | 237.2598 | 285.4083
183 |  |  |  | 3" X 2" X 3" Tee Joint | 14 | EA | 0% | 14 | 12.0252 | 168.3522 | 112.9809 | 0.42 | 47.452 | 664.3274 | 832.6796
184 |  |  |  | 4" Dia Wye Joint | 2 | EA | 0% | 2 | 55.8204 | 111.6408 | 112.9809 | 0.56 | 63.2693 | 126.5386 | 238.1793
185 |  |  |  | 4" X 2" X 4" Tee Joint | 2 | EA | 0% | 2 | 36.6946 | 73.3891 | 112.9809 | 0.612 | 69.1443 | 138.2886 | 211.6777
186 |  |  |  | 4" X 2" X 4" Wye Joint | 3 | EA | 0% | 3 | 36.6946 | 110.0837 | 112.9809 | 0.612 | 69.1443 | 207.4328 | 317.5165
187 |  |  |  | 4" X 3" X 4" Wye Joint | 6 | EA | 0% | 6 | 42.7165 | 256.2991 | 112.9809 | 0.685 | 77.3919 | 464.3513 | 720.6504
188 |  |  |  | 1/2" Dia Elbow Joint | 31 | EA | 0% | 31 | 0.60032 | 18.6099 | 112.9809 | 0.107 | 12.089 | 374.7575 | 393.3674
189 |  |  |  | 1/2" Dia Tee Joint | 2 | EA | 0% | 2 | 1.1256 | 2.2512 | 112.9809 | 0.129 | 14.5745 | 29.1491 | 31.4003
190 |  |  |  | 1/2" X 1/2" X 1" Tee Joint | 1 | EA | 0% | 1 | 6.3784 | 6.3784 | 112.9809 | 0.181 | 20.4495 | 20.4495 | 26.8279
191 |  |  |  | 1/2" X 1/2" X 3/4" Tee Joint | 2 | EA | 0% | 2 | 2.3544 | 4.7088 | 112.9809 | 0.144 | 16.2692 | 32.5385 | 37.2472
192 |  |  |  | 3/4" Dia Elbow Joint | 9 | EA | 0% | 9 | 3.1986 | 28.7872 | 112.9809 | 0.181 | 20.4495 | 184.0458 | 212.833
193 |  |  |  | 3/4" X 3/4" X 1" Tee Joint | 1 | EA | 0% | 1 | 7.6072 | 7.6072 | 112.9809 | 0.207 | 23.387 | 23.387 | 30.9942
194 |  |  |  | 1" Dia Elbow Joint | 13 | EA | 0% | 13 | 1.7822 | 23.1686 | 112.9809 | 0.193 | 21.8053 | 283.469 | 306.6376
195 |  |  |  | 1" Dia Tee Joint | 1 | EA | 0% | 1 | 11.6687 | 11.6687 | 112.9809 | 0.233 | 26.3245 | 26.3245 | 37.9933
196 |  |  |  | 1" X 1/2" X 1" Tee Joint | 8 | EA | 0% | 8 | 6.3784 | 51.0272 | 112.9809 | 0.181 | 20.4495 | 163.5963 | 214.6235
197 |  |  |  | 1" X 3/4" X 1" Tee Joint | 2 | EA | 0% | 2 | 7.6072 | 15.2144 | 112.9809 | 0.207 | 23.387 | 46.7741 | 61.9884
Equipments
198 |  |  |  | Gi-1, Hydromechanical Grease Interceptor, Manufacturer: Schier, Model No: Gb-50, 50 Gpm, 4" Flow Control Valve, 2 Anchors, Drain Pan | 1 | EA | 0% | 1 | 2035.46 | 2035.46 | 101.674 | 8 | 813.392 | 813.392 | 2848.852
199 |  |  |  | Water Sub Meter | 1 | EA | 0% | 1 | 216.678 | 216.678 | 112.9809 | 1 | 112.9809 | 112.9809 | 329.6588
200 |  |  |  | Wh-1, Electric Water Heater, Manufacturer: Holdrite, Model No: 50-Swhp-W, Wall Hung With Drain Pan And Drain Valve | 1 | EA | 0% | 1 | 347.06 | 347.06 | 112.9809 | 3.478 | 392.9474 | 392.9474 | 740.0074
201 |  |  |  | Shut-Off Valve | 9 | EA | 0% | 9 | 262.64 | 2363.76 | 101.674 | 1.75 | 177.9295 | 1601.3655 | 3965.1255
202 |  |  |  | Check Valve | 3 | EA | 0% | 3 | 248.57 | 745.71 | 101.674 | 2 | 203.348 | 610.044 | 1355.754
203 |  |  |  | Aquastat | 1 | EA | 0% | 1 | 173.53 | 173.53 | 112.9809 | 0.88 | 99.4231 | 99.4231 | 272.9531
204 |  |  |  | Temperature Gauge | 2 | EA | 0% | 2 | 112.56 | 225.12 | 112.9809 | 1.12 | 126.5386 | 253.0771 | 478.1971
205 |  |  |  | Mixing Valve | 1 | EA | 0% | 1 | 118.188 | 118.188 | 112.9809 | 0.3 | 33.8943 | 33.8943 | 152.0823
206 |  |  |  | Pressure And Temperature Relief Valve | 1 | EA | 0% | 1 | 63.784 | 63.784 | 112.9809 | 0.365 | 41.238 | 41.238 | 105.022
207 |  |  |  | Restraint Strap | 2 | EA | 0% | 2 | 14.07 | 28.14 | 112.9809 | 0.12 | 13.5577 | 27.1154 | 55.2554
208 |  |  |  | Et-1, Expansion Tank | 1 | EA | 0% | 1 | 801.99 | 801.99 | 103.427 | 0.941 | 97.3248 | 97.3248 | 899.3148
209 |  |  |  | Rcp-1, Recirculation Pump | 1 | EA | 0% | 1 | 300.16 | 300.16 | 101.674 | 2.12 | 215.5489 | 215.5489 | 515.7089
Fixtures
210 |  |  |  | 2-Comp Sink | 1 | EA | 0% | 1 | 506.52 | 506.52 | 101.674 | 5.42 | 551.0731 | 551.0731 | 1057.5931
211 |  |  |  | Co, 4" Dia Cleanout | 3 | EA | 0% | 3 | 309.54 | 928.62 | 112.9809 | 1.333 | 150.6035 | 451.8104 | 1380.4304
212 |  |  |  | Fd, 3" Dia Floor Drain, Manufacturer: Zurn, Model No: Zs415 W | 2 | EA | 0% | 2 | 164.15 | 328.3 | 112.9809 | 1.321 | 149.2477 | 298.4954 | 626.7954
213 |  |  |  | Fd, 3" Dia Indirect Drain From 2-Comp Sink And Dishwasher To Sink | 1 | EA | 0% | 1 | 295.47 | 295.47 | 112.9809 | 1.5 | 169.4713 | 169.4713 | 464.9413
214 |  |  |  | Fd, 3" Dia Indirect Drain From Ice Machine And Soda Dispenser To Floor Sink | 1 | EA | 0% | 1 | 295.47 | 295.47 | 112.9809 | 1.5 | 169.4713 | 169.4713 | 464.9413
215 |  |  |  | Fd, 3" Dia Indirect Drain From Oven To Floor Sink | 1 | EA | 0% | 1 | 295.47 | 295.47 | 112.9809 | 1.5 | 169.4713 | 169.4713 | 464.9413
216 |  |  |  | Fd, 3" Dia Indirect Drain From Water Heater To Sink | 1 | EA | 0% | 1 | 295.47 | 295.47 | 112.9809 | 1.5 | 169.4713 | 169.4713 | 464.9413
217 |  |  |  | Fs, Floor Sink, Manufacturer: Zurn, Model No: Z1900-23-31 | 4 | EA | 0% | 4 | 1604.918 | 6419.672 | 101.674 | 2.485 | 252.6599 | 1010.6396 | 7430.3116
218 |  |  |  | Hs, Hand Sink, Manufacturer: Klingers, Model No: Stb3048Br | 1 | EA | 0% | 1 | 942.69 | 942.69 | 101.674 | 2 | 203.348 | 203.348 | 1146.038
219 |  |  |  | Hs, Wall Mounted Hand Sink, Manufacturer: Advance Tabco, Model No: 7-Ps-23-Ec-Sp-1X | 2 | EA | 0% | 2 | 1013.978 | 2027.956 | 101.674 | 4.276 | 434.758 | 869.516 | 2897.472
220 |  |  |  | Ms, Mop Sink | 1 | EA | 0% | 1 | 633.15 | 633.15 | 101.674 | 3.983 | 404.9675 | 404.9675 | 1038.1175
221 |  |  |  | Ps, Prep Sink, Manufacturer: Bk Resources, Model No: Stb3060Br | 1 | EA | 0% | 1 | 1046.808 | 1046.808 | 101.674 | 2.998 | 304.8187 | 304.8187 | 1351.6267
222 |  |  |  | Trap Primer | 10 | EA | 0% | 10 | 103.18 | 1031.8 | 112.9809 | 1 | 112.9809 | 1129.8085 | 2161.6085
Valves
223 |  |  |  | 1/2" Dia Balancing Valve | 1 | EA | 0% | 1 | 119.126 | 119.126 | 112.9809 | 0.21 | 23.726 | 23.726 | 142.852
224 |  |  |  | 1/2" Dia Double Check Valve Assembly | 1 | EA | 0% | 1 | 276.71 | 276.71 | 112.9809 | 1.411 | 159.416 | 159.416 | 436.126
225 |  |  |  | 1/2" Dia Thermostatic Mixing Valve | 8 | EA | 0% | 8 | 78.9796 | 631.8368 | 112.9809 | 0.24 | 27.1154 | 216.9232 | 848.76
226 |  |  |  | 3/4" Dia Double Check Valve Assembly | 2 | EA | 0% | 2 | 364.882 | 729.764 | 112.9809 | 1.685 | 190.3727 | 380.7455 | 1110.5095
227 |  |  |  | 1" Dia Backflow Preventor Assembly To Main Supply | 1 | EA | 0% | 1 | 364.882 | 364.882 | 112.9809 | 1.25 | 141.2261 | 141.2261 | 506.1081
228 |  |  |  | Concrete SawCut & Pour Back for Plumbing/Electrical Trenches | 4 | CY | 5% | 4.2 | 0 | 0 | 73.8013 | 2.28 | 168.267 | 706.7212 | 706.7212
[7 empty] | SUBTOTAL MATERIAL |  | 31836.0657 | SUBTOTAL LABOR |  | 37929.0929 |  |  |  | 69765.1586
|  | DIVISION | 23 00 00 | HEATING, VENTILATION & AIR CONDITIONING
Pipe Support
Duct Support For Exhaust Air Round Ductwork
229 |  |  |  | Hanger Straps | 9 | EA | 0% | 9 | 4.5587 | 41.0281 | 112.9809 | 0.14 | 15.8173 | 142.3559 | 183.384
230 |  |  |  | Expansion Bolt | 9 | EA | 0% | 9 | 2.1011 | 18.9101 | 112.9809 | 0.13 | 14.6875 | 132.1876 | 151.0977
Duct Support For Exhaust Air Rectangular Ductwork With Strap
231 |  |  |  | Hanger Wires | 4 | EA | 0% | 4 | 1.7353 | 6.9412 | 112.9809 | 0.085 | 9.6034 | 38.4135 | 45.3547
232 |  |  |  | Expansion Bolt | 4 | EA | 0% | 4 | 2.1011 | 8.4045 | 112.9809 | 0.13 | 14.6875 | 58.75 | 67.1545
Duct Support For Return Air Rectangular Ductwork With Strap
233 |  |  |  | Hanger Wires | 6 | EA | 0% | 6 | 1.7353 | 10.4118 | 112.9809 | 0.085 | 9.6034 | 57.6202 | 68.032
234 |  |  |  | Expansion Bolt | 6 | EA | 0% | 6 | 2.1011 | 12.6067 | 112.9809 | 0.13 | 14.6875 | 88.1251 | 100.7318
Duct Support For Supply Air Rectangular Ductwork With Strap
235 |  |  |  | Hanger Wires | 40 | EA | 0% | 40 | 1.7353 | 69.412 | 112.9809 | 0.085 | 9.6034 | 384.1349 | 453.5469
236 |  |  |  | Expansion Bolt | 40 | EA | 0% | 40 | 2.1011 | 84.0448 | 112.9809 | 0.13 | 14.6875 | 587.5004 | 671.5452
HVAC Ductwork
237 |  |  |  | 6" Dia Round Exhaust Air Duct Upto Roof | 15 | LF | 5% | 15.75 | 1.1631 | 18.3191 | 96.5552 | 0.032 | 3.0898 | 48.6638 | 66.983
238 |  |  |  | 18" Dia Kitchen Exhaust Air Round Duct | 10 | LF | 5% | 10.5 | 3.9785 | 41.7742 | 96.5552 | 0.074717 | 7.2143 | 75.7505 | 117.5247
239 |  |  |  | 18" Dia Round Kitchen Exhaust Duct Upto Roof | 20 | LF | 5% | 21 | 3.9785 | 83.5484 | 96.5552 | 0.074717 | 7.2143 | 151.5011 | 235.0495
240 |  |  |  | 8" X 8" Exhaust Air Rectangular Duct | 20 | LF | 5% | 21 | 4.0096 | 84.2009 | 96.5552 | 0.075301 | 7.2707 | 152.6844 | 236.8853
241 |  |  |  | 10" X 10" Return Air Rectangular Duct | 25 | LF | 5% | 26.25 | 6.265 | 164.4549 | 96.5552 | 0.11766 | 11.3604 | 298.2117 | 462.6666
242 |  |  |  | 6" X 6" Supply Air Rectangular Duct | 20 | LF | 5% | 21 | 2.2554 | 47.363 | 96.5552 | 0.042357 | 4.0898 | 85.885 | 133.248
243 |  |  |  | 8" X 8" Supply Air Rectangular Duct | 55 | LF | 5% | 57.75 | 4.0096 | 231.5526 | 96.5552 | 0.075301 | 7.2707 | 419.882 | 651.4346
244 |  |  |  | 10" X 10" Supply Air Rectangular Duct | 85 | LF | 5% | 89.25 | 6.265 | 559.1468 | 96.5552 | 0.11766 | 11.3604 | 1013.9197 | 1573.0665
HVAC Fittings
245 |  |  |  | 6" X 6" Elbow | 3 | EA | 0% | 3 | 15.3366 | 46.0098 | 96.5552 | 0.27532 | 26.5834 | 79.7503 | 125.7601
246 |  |  |  | 8" X 8" Elbow | 2 | EA | 0% | 2 | 27.2651 | 54.5301 | 96.5552 | 0.48946 | 47.2595 | 94.5189 | 149.049
247 |  |  |  | 8" X 8" Elbow, 45* | 2 | EA | 0% | 2 | 27.2651 | 54.5301 | 96.5552 | 0.48946 | 47.2595 | 94.5189 | 149.049
248 |  |  |  | 10" X 10" Elbow | 6 | EA | 0% | 6 | 42.6017 | 255.61 | 96.5552 | 0.76477 | 73.8429 | 443.0574 | 698.6673
249 |  |  |  | 6" X 6" Side Transition | 1 | EA | 0% | 1 | 15.7877 | 15.7877 | 96.5552 | 0.28803 | 27.8104 | 27.8104 | 43.598
250 |  |  |  | 8" X 8" Side Transition | 7 | EA | 0% | 7 | 28.067 | 196.4688 | 96.5552 | 0.51205 | 49.4407 | 346.0846 | 542.5534
251 |  |  |  | 10" X 10" Side Transition | 4 | EA | 0% | 4 | 43.8547 | 175.4186 | 96.5552 | 0.80007 | 77.251 | 309.0041 | 484.4227
252 |  |  |  | 8" X 8" To 18" Dia Reducer | 1 | EA | 0% | 1 | 27.2651 | 27.2651 | 96.5552 | 0.48946 | 47.2595 | 47.2595 | 74.5245
253 |  |  |  | 10" X 10" To 8" X 8" Reducer | 1 | EA | 0% | 1 | 43.8547 | 43.8547 | 96.5552 | 0.80007 | 77.251 | 77.251 | 121.1057
Dampers and Fans
254 |  |  |  | Vd, 12" X 12" Volume Damper | 1 | EA | 0% | 1 | 43.148 | 43.148 | 109.2119 | 0.377 | 41.1729 | 41.1729 | 84.3209
255 |  |  |  | Vd, 24" X 24" Volume Damper | 13 | EA | 0% | 13 | 82.544 | 1073.072 | 109.2119 | 0.746 | 81.4721 | 1059.137 | 2132.209
256 |  |  |  | Kef-1, Type-1 Kitchen Exhaust Fan With 2 Vibration Isolators And Auxiliary Steel, Manufacturer: Greenheck, Model No: Csp-A710, 430 Cfm | 1 | EA | 0% | 1 | 1113.406 | 1113.406 | 100.1489 | 3.21 | 321.4779 | 321.4779 | 1434.8839
257 |  |  |  | Kitchen Exhaust Fan On Roof As Per Manufacturers Recommendation, Type-1 | 1 | EA | 0% | 1 | 1313.2 | 1313.2 | 100.1489 | 4.41 | 441.6566 | 441.6566 | 1754.8566
258 |  |  |  | Kitchen Exhaust Hood With Supply Duct | 1 | EA | 0% | 1 | 797.3 | 797.3 | 109.2119 | 2.421 | 264.402 | 264.402 | 1061.702
Grilles, Diffusers and Registers
259 |  |  |  | A, 24" X 24" Exhaust Air Diffuser, 170 Cfm, Balancing Damper, Balancing Handle, Protection Saddle, 1" X 20 Gauge Galvanized Support Strap | 2 | EA | 0% | 2 | 168.84 | 337.68 | 109.2119 | 0.666 | 72.7351 | 145.4703 | 483.1503
260 |  |  |  | A1, 24" X 24" Supply Air Diffuser, Model No: Tdc-Aa, 170 Cfm, Balancing Damper, Balancing Handle, Protection Saddle, 1" X 20 Gauge Galvanized Support Strap | 7 | EA | 0% | 7 | 168.84 | 1181.88 | 109.2119 | 0.666 | 72.7351 | 509.1459 | 1691.0259
261 |  |  |  | A2, 12" X 12" Supply Air Diffuser, Model No: Pas, 50 Cfm, Balancing Damper, Balancing Handle, Protection Saddle, 1" X 20 Gauge Galvanized Support Strap | 1 | EA | 0% | 1 | 120.064 | 120.064 | 109.2119 | 0.498 | 54.3875 | 54.3875 | 174.4515
262 |  |  |  | A3, 12" X 6" Supply Air Diffuser, Model No: 300Fs, 100 Cfm, Balancing Damper, Balancing Handle, Protection Saddle, 1" X 20 Gauge Galvanized Support Strap | 2 | EA | 0% | 2 | 98.49 | 196.98 | 109.2119 | 0.41 | 44.7769 | 89.5538 | 286.5338
263 |  |  |  | R, 24" X 24" Return Air Diffuser, Model No: 56Fl, 310 Cfm, Balancing Damper, Balancing Handle, Protection Saddle, 1" X 20 Gauge Galvanized Support Strap | 6 | EA | 0% | 6 | 168.84 | 1013.04 | 109.2119 | 0.666 | 72.7351 | 436.4108 | 1449.4508
Equipments
264 |  |  |  | Accu-1, 48.8" X 65.4" X 30.1" Air Conditioned Condensing Unit, Manufacturer: Daikin, Model No: Rxyq144Aatjb, Gas Fired With Condensate Drain, Installed On Vibration Isolators And Lag Bolts (Weather-Proof), 12 Ton | 1 | EA | 0% | 1 | 9942.8 | 9942.8 | 107.2485 | 38.003 | 4075.7663 | 4075.7663 | 14018.5663
265 |  |  |  | Fcu-1, 55.1" X 9.6" X 31.5" Fan Coil Units With Drain Pan And 2 Angle Iron Rod, Manufacturer: Daikin, Model No: Fxsq48Tbvju, Concealed Duct, 4 Tons | 1 | EA | 0% | 1 | 2485.7 | 2485.7 | 103.427 | 5.21 | 538.8547 | 538.8547 | 3024.5547
266 |  |  |  | Fcu-2, 55.1" X 9.6" X 31.5" Fan Coil Units With Drain Pan And 2 Angle Iron Rod, Manufacturer: Daikin, Model No: Fxsq48Tbvju, Concealed Duct, 4 Tons | 1 | EA | 0% | 1 | 2485.7 | 2485.7 | 103.427 | 5.21 | 538.8547 | 538.8547 | 3024.5547
267 |  |  |  | Fcu-3, 55.1" X 9.6" X 31.5" Fan Coil Units With Drain Pan And 2 Angle Iron Rod, Manufacturer: Daikin, Model No: Fxsq48Tbvju, Concealed Duct, 4 Tons | 1 | EA | 0% | 1 | 2485.7 | 2485.7 | 103.427 | 5.21 | 538.8547 | 538.8547 | 3024.5547
Sensors
268 |  |  |  | 7-Day Programmable Thermostat At 48" Above Finished Floor | 1 | EA | 0% | 1 | 234.5 | 234.5 | 107.4589 | 0.4 | 42.9836 | 42.9836 | 277.4836
269 |  |  |  | Smoke Detector, Furnished/Installed By Mechanical Contractor | 1 | EA | 0% | 1 | 276.71 | 276.71 | 107.4589 | 2.496 | 268.2174 | 268.2174 | 544.9274
270 |  |  |  | Temperature Sensor At 72" Above Finished Floor | 2 | EA | 0% | 2 | 112.56 | 225.12 | 107.4589 | 1.142 | 122.7181 | 245.4361 | 470.5561
[7 empty] | SUBTOTAL MATERIAL |  | 27677.5941 | SUBTOTAL LABOR |  | 14866.6228 |  |  |  | 42544.2169
|  | DIVISION | 26 00 00 | ELECTRICAL
Conduits
271 |  |  |  | 3/4"C | 1426 | LF | 5% | 1497.3 | 3.9115 | 5856.6291 | 107.4589 | 0.089 | 9.5638 | 14319.9408 | 20176.5698
272 |  |  |  | 1-1/2"C | 145 | LF | 5% | 152.25 | 10.1773 | 1549.4939 | 107.4589 | 0.133 | 14.292 | 2175.9621 | 3725.4561
273 |  |  |  | 3"C | 165 | LF | 5% | 173.25 | 30.954 | 5362.7805 | 107.4589 | 0.267 | 28.6915 | 4970.8069 | 10333.5874
Electrical Wiring
274 |  |  |  | 2#12, 1#12G For Lighting | 558 | LF | 5% | 585.9 | 0.67536 | 395.6934 | 107.4589 | 0.021 | 2.2566 | 1322.1636 | 1717.857
275 |  |  |  | 2#12, 1#12G For Receptacle | 408 | LF | 5% | 428.4 | 0.67536 | 289.3242 | 107.4589 | 0.021 | 2.2566 | 966.7432 | 1256.0675
276 |  |  |  | 2#6, 1#10G For Junction | 130 | LF | 5% | 136.5 | 1.9323 | 263.7562 | 107.4589 | 0.0326 | 3.5032 | 478.1814 | 741.9376
277 |  |  |  | 2#12, 1#12G For Disconnect | 50 | LF | 5% | 52.5 | 0.67536 | 35.4564 | 107.4589 | 0.021 | 2.2566 | 118.4734 | 153.9298
278 |  |  |  | 2#12, 1#12G For Junction | 165 | LF | 5% | 173.25 | 0.67536 | 117.0061 | 107.4589 | 0.021 | 2.2566 | 390.9623 | 507.9685
279 |  |  |  | 2#12, 1#12G For Special Receptacle | 35 | LF | 5% | 36.75 | 0.67536 | 24.8195 | 107.4589 | 0.021 | 2.2566 | 82.9314 | 107.7509
280 |  |  |  | 3#6, 1#10G For Disconnect | 35 | LF | 5% | 36.75 | 2.7202 | 99.9673 | 107.4589 | 0.0449 | 4.8249 | 177.3152 | 277.2826
281 |  |  |  | 3#8, 1#10G For Mechanical Unit | 45 | LF | 5% | 47.25 | 1.9604 | 92.6298 | 107.4589 | 0.0449 | 4.8249 | 227.9767 | 320.6066
282 |  |  |  | 3#1/0, 1#6G Feeder For Panels | 90 | LF | 5% | 94.5 | 7.5978 | 717.9921 | 107.4589 | 0.028 | 3.0088 | 284.3362 | 1002.3283
283 |  |  |  | 4#350Kcm + 1#1G Feeder To Meter | 100 | LF | 5% | 105 | 29.8472 | 3133.9518 | 107.4589 | 0.1532 | 16.4627 | 1728.5839 | 4862.5357
284 |  |  |  | 4#350Kcm Feeder, Exact Coordinate To Be Confirmed With Utility Owner | 100 | LF | 5% | 105 | 27.5772 | 2895.606 | 107.4589 | 0.1332 | 14.3135 | 1502.9202 | 4398.5262
285 |  |  |  | 1#2/0 Cu Grounding Conductor | 20 | LF | 5% | 21 | 1.7259 | 36.2443 | 107.4589 | 0.0178 | 1.9128 | 40.1681 | 76.4125
Lighting
286 |  |  |  | A, 2' X 4' Led Backlit Panel, Manufacturer: Wespec, Model No: Wslbl-E24, 45 Watts | 4 | EA | 0% | 4 | 168.84 | 675.36 | 107.4589 | 1.421 | 152.6991 | 610.7964 | 1286.1564
287 |  |  |  | A, 2' X 4' Led Backlit Panel, Manufacturer: Wespec, Model No: Wslbl-E24, 45 Watts, Night Light | 1 | EA | 0% | 1 | 168.84 | 168.84 | 107.4589 | 1.421 | 152.6991 | 152.6991 | 321.5391
288 |  |  |  | B, 2' X 2' Led Backlit Panel, Manufacturer: Wespec, Model No: Wslbl-E22, 30 Watts | 4 | EA | 0% | 4 | 117.25 | 469 | 107.4589 | 1.22 | 131.0999 | 524.3994 | 993.3994
289 |  |  |  | C, 6" Dia Recessed Downlight, Manufacturer: Wespec, Model No: Wsl3-61Twtw-Mpw, 24 Watts | 4 | EA | 0% | 4 | 82.544 | 330.176 | 107.4589 | 1 | 107.4589 | 429.8356 | 760.0116
290 |  |  |  | D1. 2' Led Linear Light, Manufacturer: Wespec, Model No: Wslnsw-2334W, 20 Watts | 9 | EA | 0% | 9 | 131.32 | 1181.88 | 107.4589 | 1 | 107.4589 | 967.1301 | 2149.0101
291 |  |  |  | D2, 4' Led Linear Light, Manufacturer: Wespec, Model No: Wslnsw-4334W, 20 Watts | 4 | EA | 0% | 4 | 154.77 | 619.08 | 107.4589 | 1 | 107.4589 | 429.8356 | 1048.9156
292 |  |  |  | F, 14" Dia Custom Pendant Fixture, Manufacturer: Wespec, Model No: Wsl-P14Mbsr, 20 Watts | 2 | EA | 0% | 2 | 267.33 | 534.66 | 107.4589 | 1 | 107.4589 | 214.9178 | 749.5778
293 |  |  |  | X1, Exit/Emergency Combo Signs, Manufacturer: Espec, Model No: Ws-Exc-730-Led, 2 Watts | 2 | EA | 0% | 2 | 79.73 | 159.46 | 107.4589 | 1 | 107.4589 | 214.9178 | 374.3778
294 |  |  |  | Y1, Compact Dual Head Led Emergency Light, Manufacturer: Wespec, Model No: Ws-Em-612Ledw, 2 Watts | 4 | EA | 0% | 4 | 82.544 | 330.176 | 107.4589 | 1 | 107.4589 | 429.8356 | 760.0116
Panels and Breakers
|  |  |  | B, Existing Electrical Panelboard | 1
295 |  |  |  | 15A/1-Pole Circuit Breaker | 6 | EA | 0% | 6 | 22.2025 | 133.2148 | 107.4589 | 0.8 | 85.9671 | 515.8027 | 649.0175
296 |  |  |  | 15A/1-Pole Circuit Breaker, Verify In Field | 1 | EA | 0% | 1 | 22.2025 | 22.2025 | 107.4589 | 0.8 | 85.9671 | 85.9671 | 108.1696
297 |  |  |  | 20A/1-Pole Circuit Breaker | 15 | EA | 0% | 15 | 22.9529 | 344.2929 | 107.4589 | 0.8 | 85.9671 | 1289.5068 | 1633.7997
298 |  |  |  | C, New Electrical Panelboard, 120/208Y V, 3-Ph, 4 Wire, 600A Mcb | 1 | EA | 0% | 1 | 1782.2 | 1782.2 | 107.4589 | 12.221 | 1313.2552 | 1313.2552 | 3095.4552
299 |  |  |  | 15A/2-Pole Circuit Breaker, Heat Air Conditioning & Refrigeration | 3 | EA | 0% | 3 | 51.7776 | 155.3328 | 107.4589 | 1 | 107.4589 | 322.3767 | 477.7095
300 |  |  |  | 20A/1-Pole Circuit Breaker | 7 | EA | 0% | 7 | 22.9529 | 160.67 | 107.4589 | 0.8 | 85.9671 | 601.7698 | 762.4399
301 |  |  |  | 20A/1-Pole Circuit Breaker, Spare | 5 | EA | 0% | 5 | 22.9529 | 114.7643 | 107.4589 | 0.8 | 85.9671 | 429.8356 | 544.5999
302 |  |  |  | 20A/2-Pole Circuit Breaker | 2 | EA | 0% | 2 | 48.8979 | 97.7959 | 107.4589 | 1 | 107.4589 | 214.9178 | 312.7137
303 |  |  |  | 50A/3-Pole Circuit Breaker, Heat Air Conditioning & Refrigeration | 1 | EA | 0% | 1 | 235.438 | 235.438 | 107.4589 | 1.29 | 138.622 | 138.622 | 374.06
304 |  |  |  | 60A/2-Pole Circuit Breaker | 4 | EA | 0% | 4 | 53.9819 | 215.9276 | 107.4589 | 1.067 | 114.6586 | 458.6346 | 674.5622
305 |  |  |  | 60A/3-Pole Circuit Breaker | 1 | EA | 0% | 1 | 219.2106 | 219.2106 | 107.4589 | 1.29 | 138.622 | 138.622 | 357.8326
306 |  |  |  | 150A/3-Pole Circuit Breaker | 2 | EA | 0% | 2 | 647.22 | 1294.44 | 107.4589 | 1.85 | 198.799 | 397.5979 | 1692.0379
Heavy Equipments
307 |  |  |  | Fused Service Disconnect, 600A, 208Y/120V, 3-Ph, 4 Wire | 1 | EA | 0% | 1 | 5794.964 | 5794.964 | 107.4589 | 13.377 | 1437.4777 | 1437.4777 | 7232.4417
308 |  |  |  | Electrical Meter, 600A, 208Y/120V, 3-Ph, 4 Wire | 1 | EA | 0% | 1 | 1125.6 | 1125.6 | 107.4589 | 3.625 | 389.5385 | 389.5385 | 1515.1385
309 |  |  |  | Ct Cabinet, 600A, 208Y/120V, 3-Ph, 4 Wire | 1 | EA | 0% | 1 | 5534.2 | 5534.2 | 107.4589 | 10 | 1074.589 | 1074.589 | 6608.789
Switches and Receptacles
310 |  |  |  | Single Pole Occupancy Sensor Switch | 1 | EA | 0% | 1 | 70.35 | 70.35 | 107.4589 | 1.142 | 122.7181 | 122.7181 | 193.0681
311 |  |  |  | Single Pole Switch | 1 | EA | 0% | 1 | 14.5859 | 14.5859 | 107.4589 | 0.465 | 49.9684 | 49.9684 | 64.5543
312 |  |  |  | Single Pole Timer Switch | 2 | EA | 0% | 2 | 22.512 | 45.024 | 107.4589 | 0.604 | 64.9052 | 129.8104 | 174.8344
313 |  |  |  | Timer Switch Bank | 1 | EA | 0% | 1 | 51.59 | 51.59 | 107.4589 | 0.5 | 53.7294 | 53.7294 | 105.3195
314 |  |  |  | Duplex Receptacle, Ground Fault Circuit Interrupter, Weather Proof | 1 | EA | 0% | 1 | 112.56 | 112.56 | 107.4589 | 0.599 | 64.3679 | 64.3679 | 176.9279
315 |  |  |  | Duplex Receptacle, Ground Fault Circuit Interrupter | 14 | EA | 0% | 14 | 112.56 | 1575.84 | 107.4589 | 0.599 | 64.3679 | 901.1503 | 2476.9903
316 |  |  |  | Duplex Receptacle, Isolated Ground | 5 | EA | 0% | 5 | 92.862 | 464.31 | 107.4589 | 0.597 | 64.153 | 320.7648 | 785.0748
317 |  |  |  | Duplex Receptacle, Tamper Resistant | 2 | EA | 0% | 2 | 92.862 | 185.724 | 107.4589 | 0.597 | 64.153 | 128.3059 | 314.0299
318 |  |  |  | Single Receptacle, Ground Fault Circuit Interrupter | 1 | EA | 0% | 1 | 91.924 | 91.924 | 107.4589 | 0.599 | 64.3679 | 64.3679 | 156.2919
319 |  |  |  | Single Receptacle | 1 | EA | 0% | 1 | 89.11 | 89.11 | 107.4589 | 0.597 | 64.153 | 64.153 | 153.263
320 |  |  |  | Special Receptacle | 1 | EA | 0% | 1 | 103.18 | 103.18 | 107.4589 | 0.597 | 64.153 | 64.153 | 167.333
321 |  |  |  | Window Receptacle, Ceiling Mounted | 2 | EA | 0% | 2 | 89.11 | 178.22 | 107.4589 | 0.597 | 64.153 | 128.3059 | 306.5259
322 |  |  |  | Os, Occupancy Sensor | 1 | EA | 0% | 1 | 70.35 | 70.35 | 107.4589 | 1.142 | 122.7181 | 122.7181 | 193.0681
Disconnect Switch
323 |  |  |  | 15A/2-Pole Disconnect Switch | 3 | EA | 0% | 3 | 133.5993 | 400.798 | 107.4589 | 1.221 | 131.2073 | 393.622 | 794.42
324 |  |  |  | 50A/3-Pole Disconnect Switch, Weather-Proof | 1 | EA | 0% | 1 | 347.998 | 347.998 | 107.4589 | 2.312 | 248.445 | 248.445 | 596.443
325 |  |  |  | 60A/3-Pole Disconnect Switch | 1 | EA | 0% | 1 | 360.4922 | 360.4922 | 107.4589 | 2.312 | 248.445 | 248.445 | 608.9371
Fixtures
326 |  |  |  | Junction Box | 9 | EA | 0% | 9 | 178.22 | 1603.98 | 107.4589 | 2.997 | 322.0543 | 2898.4889 | 4502.4689
327 |  |  |  | Timeclock | 1 | EA | 0% | 1 | 77.854 | 77.854 | 107.4589 | 0.726 | 78.0152 | 78.0152 | 155.8692
[7 empty] | SUBTOTAL MATERIAL |  | 48414.1262 | SUBTOTAL LABOR |  | 47651.8755 |  |  |  | 96066.0017
|  | DIVISION | 27 00 00 | COMMUNICATIONS
Cabling
328 |  |  |  | Cat6 Home Run For Data/Comm Outlet | 395 | LF | 5% | 414.75 | 0.5628 | 233.4213 | 107.4589 | 0.013 | 1.397 | 579.3915 | 812.8128
Data Communications
329 |  |  |  | Telecom/Data Outlet | 5 | EA | 0% | 5 | 82.544 | 412.72 | 107.4589 | 1.003 | 107.7813 | 538.9064 | 951.6264
[7 empty] | SUBTOTAL MATERIAL |  | 646.1413 | SUBTOTAL LABOR |  | 1118.2979 |  |  |  | 1764.4392
[7 empty] | TOTAL MATERIAL |  | 333844.1994 | TOTAL LABOR |  | 164289.4787 |  |  |  | 498133.6781
TOTAL MATERIAL COST | [15 empty] | 333844.1994
TOTAL LABOR COST | [15 empty] | 164289.4787
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary, depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.

## ROUGH SHEET CALCULATION (hidden)
Description | Takeoff Qty | Unit | Length | Width | Height | Calculated Qty | Unit
(1/4"x3") Cont. Joist Tie Plate | 1837.728 | LBS
(1/2"x6-1/2") Cont. Joist Tie Plate | 63484.4 | LBS
(1/2"x6") Cont. Joist Tie Plate | 37162.944 | LBS
(5/16"x3") Cont. Joist Tie Plate | 4881.465 | LBS
(5/16"x3-1/2") Cont. Joist Tie Plate | 744.4 | LBS
(1/2"x6") Cont. Joist Tie Plate | 68917.5 | LBS
(3/8x6-1/2") Cont. Joist Tie Plate | 4313.4 | LBS

## Rules (hidden)
Kindly add Project GSF every time in summary sheet tab.
Always spare one line at bottom of every trade on worksheet for adding extra work if needed, (by this formulas will not be disturbed).
Do not add extra column in work sheet for calculations. Always use (ROUGH SHEET CALCULATION TAB) for all calculation work. Without that tab, your work will not be considered for QA. Simply copy the data form Plan-swift extracted sheet and paste into that tab, and do all the necessary work and calculation there, and then put it in final Worksheet Tab. So, the QA person can easily verify the calculations.
Always use Calibri Font for writing in the sheet, Font Size 11.
Make sure to apply spell check before sending the sheet.
Make sure all formulas are working and integrated.
Do not Delete MEP divisions while finalizing your sheet.